## Slide 1: AeroLens Air Quality Monitoring System
Jana Godieh
Dana Abu Al-Ruz
Leen Al-Masarweh

## Slide 2: The Solution The Problem
A smart system powered by ESP32 with "Traffic Light" logic.
IoT Integration: Real-time data on ThingSpeak.
Smart Alerts: Sends an immediate Email Notification in case of danger.
Silent risks like gas leaks and fires.
Lack of remote warnings when the user is away.

## Slide 3: Hardware

## Slide 4: ESP32 Controller

## Slide 5: Sensors

## Slide 6: Outputs

## Slide 7
Component | ESP32 GPIO Pin | Type
MQ-6 Sensor | GPIO 34 | Analog Input
MQ-135 Sensor | GPIO 35 | Analog Input
Flame Sensor | GPIO 14 | Digital Input
DHT11 Sensor | GPIO 4 | Digital Data
LCD (SDA) | GPIO 21 | I2C Data
LCD (SCL) | GPIO 22 | I2C Clock
Green LED | GPIO 25 | Output
Yellow LED | GPIO 26 | Output
Red LED | GPIO 27 | Output
Buzzer | GPIO 32 | Output

## Slide 8: Wokwi Simulator 01 ThingSpeak IoT 02 Software & Simulation Tools
For circuit design and testing.
For cloud data visualization.

## Slide 9: System Logic & Workflow Sense Data Smoothing
It calculates the average of multiple readings to ensure stability.
Sensors collect data (Gas, Fire, Temp)

## Slide 10: System Logic & Workflow Process
ESP32 analyzes risk levels
Level 0 (Green): Normal range.
Level 1 (Yellow): Slight gas increase
Level 2 (Red): High gas, Fire detected, or Temp > 50°C

## Slide 11: System Logic & Workflow Local Act Cloud Upload Notification
Buzzer alarms and Red LED turns on.
Data sent to ThingSpeak
System triggers an Email Alert to the user: "Danger! Fire Detected" or "Gas Leak Detected".

## Slide 12: Circuit Diagram (Wokwi)

## Slide 13: Real-time Graphs Alert Log IoT Data Visualization (ThingSpeak)
Shows Temperature and Gas levels.
Records the time when Email Alerts were sent.

## Slide 19: Real-World Applications
Smart Homes
Remote safety monitoring.
Warehouses
Protecting goods from fire when no one is around.
Industrial Safety
Immediate reporting of toxic gas leaks

## Slide 20: Thank You